LIVAL LIGHTING

Industrial Designs

#### Bingo

Internationally Awarded Design

STATE OF THE ART DESIGN	SMALL FORM FACTORS

Dingo

Bing

Made in Finland /EU • www.lival.com

LIVAL  LIGHTING	INDUSTRIAL DESIGNS

Energy Saving is our goal

MORE LIGHT LESS ELECTRICITY

Effective Electronic Devices & Energy Saving High Efficiency COB’s

| HE COB | If (mA) | COB Flux (Lm) | System (Lm) | Power (W) | System Lm/W |
| --- | --- | --- | --- | --- | --- |
| 1208 CRI 90 4000K Premium White HE | 350 | 2100 | 1800 | 13 | 138 |
|  | 500 | 2900 | 2500 | 19 | 131 |
|  | 650 | 3700 | 3175 | 25 | 127 |

## Contact information:

##### Full name: Company/Title: Phone:

E-mail:

2

Made in Finland /EU

## BASIC Range

Product

mA

System Lm/W

Beam

Kelvin

GA -016 -017 CASA

Packing: 6-pack 240 pcs/pallet.

Item Group: 155 (GA-016), 135 (GA-017)

GA -016 -017 STANDARD

Packing: 6-pack 240 pcs/pallet.

Item Group: 105 (GA-016), 136 (GA-017)

GA -016 -017 CAFETERIA

Packing: 6-pack 240 pcs/pallet.

Item Group: 153 (GA-016), 137 (GA-017)

GA -016 -017 ACCENT

Packing: 72 pcs/pallet. Item Group: 14K (GA-016)

PO:

Stick-in Driver 200-750mA

P.O.

Stick-in Driver 200-850mA

P.O.

Stick-in Driver 200-1050mA

NEW

P.O.

Stick-in Driver 200-1050mA

ECO SHAFT Range – HIGH EFFICIENCY Range

Product

mA

System Lm/W

Beam

Kelvin

GA -017 CASA

Packing: 6-pack 240 pcs/pallet.

Item Group: 135

GA -017 STANDARD

Packing: 6-pack 240 pcs/pallet. Item Group: 136

GA  -017 CAFETERIA

Packing: 6-pack 240 pcs/pallet. Item Group: 137

NEW

P.O.

Stick-in Driver 200-500mA

NEW

P.O.

Stick-in Driver 200-500mA

NEW

P.O.

Stick-in Driver 200-650mA

HIGHLIGHT Range

Product

mA

System Lm/W

Beam

Kelvin

GA -016 -017 BING

Packing: 6-pack 240 pcs/pallet. Item Group: 15A

GA -016 -017 BINGO

Packing: 6-pack 240 pcs/pallet. Item Group: 15K

GA -016 -017 DINGO

Packing: 6-pack 240 pcs/pallet. Item Group: 15X

P.O.

Stick-in Driver 200-750mA

P.O.

Stick-in Driver 200-850mA

P.O.

Stick-in Driver 200-1050mA

HIGH LIGHT DL Range

Product

mA

System Lm/W

Beam

Kelvin

Bing Pro DL

Packing: 50 pcs/pallet. Item Group: 14E

Bingo Pro DL

Packing: 50 pcs/pallet. Item Group: 14F

Dingo Pro DL

Packing: 50 pcs/pallet. Item Group: 14G

TEMP Casa DL

Packing: 48 pcs/pallet. Item Group: 14H

TEMP Café DL

Packing: 48 pcs/pallet. Item Group: 14I

P.O.

Built-in Driver 300-750mA

P.O.

Built-in Driver 300-850mA

P.O.

Built-in Driver 300-900mA

P.O.

Built-in Driver 300-650mA

P.O.

Built-in Driver 300-850mA

CLASSIC GA69 Range

Product	mA	System Lm/W	Beam	Kelvin

Bandit

- Built-in Driver 300-1400mA

P.O.	Packing: 50 pcs/pallet.

Item Group: 11J

GA69 - GLIDER TREND

P.O.	Packing: 72 pcs/pallet.

Item Group: 10J

- Built-in Driver 300-1400mA

- Built-in Driver 300-1050mA

- Built-in Driver 300-750mA

###### GA69 - HUB

P.O.	Packing: 50 pcs/pallet.

Item Group: 122

###### TRIGGER Mini CASA

P.O.	Packing: 50 pcs/pallet.

Item Group: 166

###### Trigger  Mini STANDARD

P.O.	Packing: 50 pcs/pallet.

Item Group: 164

- Built-in Driver 300-850mA

- Built-in Driver 300-750mA

###### COLT

Mini CASA

P.O.	Packing: 50 pcs/pallet.

Item Group: 167

###### COLT Mini STANDARD

P.O.	Packing: 50 pcs/pallet.

Item Group: 146

- Built-in Driver 300-850mA

## CLASSIC Down Light Range

Product	mA	System Lm/W	Beam	Kelvin

First Circle DL

- Built-in Driver 300-1400mA

P.O.	Packing: 50 pcs/pallet.

Item Group: 10P

FIRST SINGLE DL

- Built-in Driver 300-1400mA

P.O.	Packing: 50 pcs/pallet.

Item Group: 10A

###### FIRST DUO DL

- Built-in Driver 2x 300-1400mA

P.O.	Packing: 40 pcs/pallet.

Item Group: 10B

###### FIRST TRIO DL

- Built-in Driver 3x 300-1400mA

P.O.	Packing: 28 pcs/pallet.

Item Group: 10C

###### CASA Circle DL

- Built-in Driver 300-750mA

P.O.	Packing: 50 pcs/pallet.

Item Group: 108

###### CASA

Single DL

- Built-in Driver 300-750mA

P.O.	Packing: 50 pcs/pallet.

Item Group: 110

###### CASA DUO DL

- Built-in Driver 2x 300-750mA

P.O.	Packing: 40 pcs/pallet.

Item Group: 111

###### CASA TRIO DL

- Built-in Driver 3x 300-750mA

P.O.	Packing: 40 pcs/pallet.

Item Group: 112

DINGO Pendant GA69

## FIX Range

Product

mA

System Lm/W

Beam

Kelvin

Mini Lean DL

Packing: 48 pcs/pallet. Item Group: 19M

Lean DL

Packing: 48 pcs/pallet. Item Group: 19K

Standard Fix DL

Packing: 50 pcs/pallet. Item Group: 11F

Meteor DL

Packing: 50 pcs/pallet.

Item Group: 150

P.O.

Built-in Driver 300-1050mA

P.O.

Built-in Driver 300-1400mA

P.O.

Built-in Driver 300-750mA

P.O.

Built-in Driver 300-1400mA

Product

System Lm/W

Beam

Kelvin

DINGO Pendant GA-017

Stick-in Driver 200-700mA

P.O.

Packing: 72 pcs/pallet. Item Group: 13F

DINGO Pendant GA69

Built-in Driver 300-850mA

P.O.

Packing: 72 pcs/pallet. Item Group: 13G

CRAFT

Built-in Driver 300-1400mA

P.O.

Packing: 48 pcs/pallet.

Item Group: 127

DINGO Pendant GA-017

PENDANT Range

|  | Secur 812 / 816 - Built-in Driver 300-900mA (812) - Built-in Driver 300-1400mA (816) |  |  |  |
| --- | --- | --- | --- | --- |
|  | P.O. | Packing: 48 pcs/pallet. Item Group: 12A (812), 12C (816) |  |  |

LUMINAIRE REFLECTORS

LIVLIVALAL   LIGHTINGLIGHTING	INDUSTRIALINDUSTRIAL DESIGNSDESIGNS

- Wide set of reflectors for all retail lighting purposes

Energy Efficient LED COB  Packages for all Retail Applictions:

1206 / 1208 / 1212 Die Configurations

Clear glass 65,5 x 3mm

462065

Clear glass 75 x 3mm

462085

Clear glass 104 x 3mm

462124

1212	1206 / 1208

Ø 108 mm: 1206 / 1208 COB  Lean / First / Craft -Series

| Product | Al. ref. | Angle | P.O. |
| --- | --- | --- | --- |
| 433195 | 108mm 10D CLL030 | 10° |  |
| 433198 | 108mm 24D CLL030 | 24° |  |
| 433196 | 108mm 30D CLL030 | 30° |  |
| 433197 | 108mm 50D CLL030 | 50° |  |

Ø 108 mm: 1212 COB  Lean / First / Craft -Series

433175	108mm

20D PrevaLED Z2

20°

433180	108mm

40D PrevaLED Z2

40°

433185	108mm

60D PrevaLED Z2

60°

3D	Ø 75 mm: 1206 / 1208 COB Dingo -series

| Product | Al. ref. | Angle | P.O. |
| --- | --- | --- | --- |
| 433271 | Aspect/Dingo 15D | 15 ° |  |
| 433272 | Aspect/Dingo 28D Ball Facette | 28 ° |  |
| 433275 | Aspect/Dingo Ball Facette 50D | 50 ° |  |

3D

Ø 76,4 mm: 1206 / 1208 COB Bingo / Standard / Cafeteria -series

| 433194 | 76,4 mm 24D Ball Facette | 24° |  |
| --- | --- | --- | --- |
| 433189 | 76,4 mm 36D Ball Facette | 36° |  |
| 433192A | 76,4 mm 55D Ball Facett | 55° |  |

Ø 65 mm: 1206 / 1208 COB Bing / Casa -series

433240

65,5 mm 15D DC core

15 °

433250

65,5 mm 21D DC core

21 °

433260

65,5 mm 32D DC core

32 °

433251

65,5mm

25D Ball Facette

25 °

433270

65,5mm 46D DC core

46 °

3DØ 65 mm: 1206 / 1208 COB Bing / Casa -series

ON OFF / WIRELESS TECHNOLOGIES FOR ENERGY SAVING AND COMFORT

LIVLIVALAL   LIGHTINGLIGHTING	INDUSTRIALINDUSTRIAL DESIGNSDESIGNS

NEW

##### Thermally strong

  - Strong surge protection

  - Energy efficiency

GA017

162 mm

GA016

228 mm

  - The easy way to fix your lighting architecture in your store

CC Wireless

228 mm

PARTICULARLY DESIGNED FOR GLOBAL 3 CIRCUIT LIGHT TRACK SYSTEMS

Product

CC Wireless

Wattage and mA

42W 150-1050mA

P.O.

pcs

Color

White    Black

GA031 S

14W 200-350mA

White    Black

GA032 S

26W 500-650mA

White    Black

GA033 S

34W 700-850mA

White    Black

GA034 S

42W 900-1050mA

White    Black

GA021 T1

20W 250-500mA

White    Black

GA022 T2

30W 550-750mA

White    Black

GA023 T3

40W 850-1050mA

White    Black

GA 017

31W 200-700mA

White    Black

GA 016

40W 300-1050mA

White    Black

Application: Retail – Hospitality – Office • Enviroment in mind

Notes:

e LIGHTI NG

theWAY

www.lival.com	11

Standard

Printed matter

4041 0660

STATE OF THE ART DESIGN • SMALL FORM FACTORS

Casa

Standard

Cafeteria

Lukkarinmäentie 1, 04130 Sipoo, Finland • Tel.: +358-9-235 511, lival@lival.com